## IO List
Tagname | I/O Type | Data/Signal Type | Engineering Unit | Unit Description | Field Device Description | Signal Description | Module Channel | P&ID Reference | Process Unit | Min Range | Max Range
102-PM001-XST | DO | Solid State | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 2 | Start pump command | DO01-02 | P&ID-039 | 102-001 | N/A | N/A
102-PM001-XSP | DO | Relay | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 2 | Stop pump command | DO01-03 | P&ID-039 | 102-001 | N/A | N/A
102-PM001-XRS | DO | Solid State | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 2 | Reset fault command | DO01-04 | P&ID-039 | 102-001 | N/A | N/A
102-PM001-XRN | DI | Pulse | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 2 | Running status feedback | DI01-05 | P&ID-039 | 102-001 | N/A | N/A
102-PM001-XHFA | DI | 24 VDC | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 2 | High flow detected | DI01-06 | P&ID-039 | 102-001 | N/A | N/A
102-PM001-XOLA | DI | 24 VDC | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 2 | Overload condition alarm | DI01-07 | P&ID-039 | 102-001 | N/A | N/A
102-FT001-FI | AI | RTD | Celcius | Pump station with flow and pressure monitoring | Flow Transmitter | Flow rate measurement | AI01-08 | P&ID-013 | 102-001 | 0 | 148
102-PT001-PI | AI | RTD | Celcius | Pump station with flow and pressure monitoring | Pressure Transmitter | Pressure reading | AI01-09 | P&ID-035 | 102-001 | 0 | 8
102-VC3001-XOC | DO | Solid State | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to open valve | DO01-10 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-XCC | DO | Solid State | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to close valve | DO01-11 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-XIC | DO | Solid State | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to move to intermediate position | DO01-12 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-XOF | DI | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully opened | DI01-13 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-XCF | DI | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully closed | DI01-14 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-XIF | DI | Dry Contact | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is in intermediate position | DI01-15 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-XMV | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is moving | DI01-16 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-XFT | DI | Dry Contact | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Valve actuator fault | DI02-01 | P&ID-003 | 102-002 | N/A | N/A
102-VC3001-POS | AI | RTD | Celcius | Batch weighing and dosing system | Three-Position Valve Actuator | Valve position feedback (0-100%) | AI02-02 | P&ID-003 | 102-002 | 0 | 100
102-VC3001-XRS | DO | Relay | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Reset valve fault | DO02-03 | P&ID-003 | 102-002 | N/A | N/A
102-VC3002-XOC | DO | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to open valve | DO02-04 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-XCC | DO | Solid State | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to close valve | DO02-05 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-XIC | DO | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to move to intermediate position | DO02-06 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-XOF | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully opened | DI02-07 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-XCF | DI | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully closed | DI02-08 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-XIF | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is in intermediate position | DI02-09 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-XMV | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is moving | DI02-10 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-XFT | DI | Dry Contact | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Valve actuator fault | DI02-11 | P&ID-028 | 102-002 | N/A | N/A
102-VC3002-POS | AI | 0-10 V | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Valve position feedback (0-100%) | AI02-12 | P&ID-028 | 102-002 | 0 | 100
102-VC3002-XRS | DO | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Reset valve fault | DO02-13 | P&ID-028 | 102-002 | N/A | N/A
102-MX001-XST | DO | Relay | N/A | Batch weighing and dosing system | Mixer Advanced | Start mixer command | DO02-14 | P&ID-007 | 102-002 | N/A | N/A
102-MX001-XSP | DO | 24 VDC | N/A | Batch weighing and dosing system | Mixer Advanced | Stop mixer command | DO02-15 | P&ID-007 | 102-002 | N/A | N/A
102-MX001-XRN | DI | Dry Contact | N/A | Batch weighing and dosing system | Mixer Advanced | Feedback: mixer is running | DI02-16 | P&ID-007 | 102-002 | N/A | N/A
102-MX001-XOLA | DI | Pulse | N/A | Batch weighing and dosing system | Mixer Advanced | Alarm: overload condition | DI03-01 | P&ID-007 | 102-002 | N/A | N/A
102-MX001-SC | AO | 24 VDC | N/A | Batch weighing and dosing system | Mixer Advanced | Speed control signal | AO03-02 | P&ID-007 | 102-002 | 0 | 100
102-MX001-TI | AI | 4-20 mA | Celcius | Batch weighing and dosing system | Mixer Advanced | Temperature feedback | AI03-03 | P&ID-007 | 102-002 | 1 | 81
102-FN001-XST | DO | Relay | N/A | Ventilation system with temperature control | Fan Starter | Fan start command | DO03-04 | P&ID-023 | 102-003 | N/A | N/A
102-FN001-XSP | DO | 24 VDC | N/A | Ventilation system with temperature control | Fan Starter | Fan stop command | DO03-05 | P&ID-023 | 102-003 | N/A | N/A
102-FN001-XRN | DI | Pulse | N/A | Ventilation system with temperature control | Fan Starter | Fan running feedback | DI03-06 | P&ID-023 | 102-003 | N/A | N/A
102-TT001-TI | AI | RTD | Celcius | Ventilation system with temperature control | Temperature Transmitter | Temperature reading | AI03-07 | P&ID-036 | 102-003 | 14 | 99
102-VC3003-XOC | DO | Relay | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to open valve | DO03-08 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-XCC | DO | Relay | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to close valve | DO03-09 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-XIC | DO | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to move to intermediate position | DO03-10 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-XOF | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully opened | DI03-11 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-XCF | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully closed | DI03-12 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-XIF | DI | Dry Contact | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is in intermediate position | DI03-13 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-XMV | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is moving | DI03-14 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-XFT | DI | Dry Contact | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Valve actuator fault | DI03-15 | P&ID-016 | 102-004 | N/A | N/A
102-VC3003-POS | AI | Thermocouple | Celcius | Batch weighing and dosing system | Three-Position Valve Actuator | Valve position feedback (0-100%) | AI03-16 | P&ID-016 | 102-004 | 0 | 100
102-VC3003-XRS | DO | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Reset valve fault | DO04-01 | P&ID-016 | 102-004 | N/A | N/A
102-VC3004-XOC | DO | Solid State | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to open valve | DO04-02 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-XCC | DO | Solid State | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to close valve | DO04-03 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-XIC | DO | Relay | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Command to move to intermediate position | DO04-04 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-XOF | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully opened | DI04-05 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-XCF | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is fully closed | DI04-06 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-XIF | DI | Pulse | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is in intermediate position | DI04-07 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-XMV | DI | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Feedback: valve is moving | DI04-08 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-XFT | DI | Dry Contact | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Valve actuator fault | DI04-09 | P&ID-030 | 102-004 | N/A | N/A
102-VC3004-POS | AI | 0-10 V | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Valve position feedback (0-100%) | AI04-10 | P&ID-030 | 102-004 | 0 | 100
102-VC3004-XRS | DO | 24 VDC | N/A | Batch weighing and dosing system | Three-Position Valve Actuator | Reset valve fault | DO04-11 | P&ID-030 | 102-004 | N/A | N/A
102-MX002-XST | DO | 24 VDC | N/A | Batch weighing and dosing system | Mixer Advanced | Start mixer command | DO04-12 | P&ID-012 | 102-004 | N/A | N/A
102-MX002-XSP | DO | Solid State | N/A | Batch weighing and dosing system | Mixer Advanced | Stop mixer command | DO04-13 | P&ID-012 | 102-004 | N/A | N/A
102-MX002-XRN | DI | Dry Contact | N/A | Batch weighing and dosing system | Mixer Advanced | Feedback: mixer is running | DI04-14 | P&ID-012 | 102-004 | N/A | N/A
102-MX002-XOLA | DI | 24 VDC | N/A | Batch weighing and dosing system | Mixer Advanced | Alarm: overload condition | DI04-15 | P&ID-012 | 102-004 | N/A | N/A
102-MX002-SC | AO | Solid State | N/A | Batch weighing and dosing system | Mixer Advanced | Speed control signal | AO04-16 | P&ID-012 | 102-004 | 0 | 100
102-MX002-TI | AI | Thermocouple | Celcius | Batch weighing and dosing system | Mixer Advanced | Temperature feedback | AI05-01 | P&ID-012 | 102-004 | -14 | 94
202-LT001-LI | AI | RTD | Celcius | Storage tank with level monitoring | Level Transmitter | Tank level measurement | AI05-02 | P&ID-045 | 202-001 | 0 | 100
202-TT001-TI | AI | RTD | Celcius | Storage tank with level monitoring | Temperature Transmitter | Temperature reading | AI05-03 | P&ID-018 | 202-001 | -10 | 85
203-CB001-XFWD | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward start command | DO05-04 | P&ID-004 | 203-001 | N/A | N/A
203-CB001-XREV | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse start command | DO05-05 | P&ID-004 | 203-001 | N/A | N/A
203-CB001-XSTP | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Stop command | DO05-06 | P&ID-004 | 203-001 | N/A | N/A
203-CB001-XFWF | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward running feedback | DI05-07 | P&ID-004 | 203-001 | N/A | N/A
203-CB001-XRVF | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse running feedback | DI05-08 | P&ID-004 | 203-001 | N/A | N/A
203-CB001-XFTA | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Fault alarm | DI05-09 | P&ID-004 | 203-001 | N/A | N/A
203-CB002-XFWD | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward start command | DO05-10 | P&ID-050 | 203-001 | N/A | N/A
203-CB002-XREV | DO | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse start command | DO05-11 | P&ID-050 | 203-001 | N/A | N/A
203-CB002-XSTP | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Stop command | DO05-12 | P&ID-050 | 203-001 | N/A | N/A
203-CB002-XFWF | DI | Pulse | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward running feedback | DI05-13 | P&ID-050 | 203-001 | N/A | N/A
203-CB002-XRVF | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse running feedback | DI05-14 | P&ID-050 | 203-001 | N/A | N/A
203-CB002-XFTA | DI | Dry Contact | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Fault alarm | DI05-15 | P&ID-050 | 203-001 | N/A | N/A
203-PT001-PI | AI | 4-20 mA | bar | Product packaging line with conveyor and sensors | Pressure Transmitter | Pressure reading | AI05-16 | P&ID-013 | 203-001 | 0 | 6
301-PM001-XST | DO | Relay | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Pump start command | DO06-01 | P&ID-035 | 301-001 | N/A | N/A
301-PM001-XSP | DO | 24 VDC | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Pump stop command | DO06-02 | P&ID-035 | 301-001 | N/A | N/A
301-PM001-XRC | DO | Relay | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Remote control enable signal | DO06-03 | P&ID-035 | 301-001 | N/A | N/A
301-PM001-XRN | DI | Dry Contact | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Pump running feedback | DI06-04 | P&ID-035 | 301-001 | N/A | N/A
301-PM001-XPFA | DI | 24 VDC | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Power failure detected | DI06-05 | P&ID-035 | 301-001 | N/A | N/A
301-PM001-XOLA | DI | Pulse | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Motor overload alarm | DI06-06 | P&ID-035 | 301-001 | N/A | N/A
301-FT001-FI | AI | 0-10 V | m3/h | Pump station with flow and pressure monitoring | Flow Transmitter | Flow rate measurement | AI06-07 | P&ID-048 | 301-001 | 0 | 408
301-PT001-PI | AI | RTD | Celcius | Pump station with flow and pressure monitoring | Pressure Transmitter | Pressure reading | AI06-08 | P&ID-007 | 301-001 | 0 | 17
301-VC001-XOC | DO | Solid State | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Open valve command | DO06-09 | P&ID-007 | 301-001 | N/A | N/A
301-VC001-XCC | DO | Solid State | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Close valve command | DO06-10 | P&ID-007 | 301-001 | N/A | N/A
301-VC001-XOF | DI | Pulse | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Valve open status feedback | DI06-11 | P&ID-007 | 301-001 | N/A | N/A
301-VC001-XCF | DI | Dry Contact | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Valve closed status feedback | DI06-12 | P&ID-007 | 301-001 | N/A | N/A
301-PM002-XST | DO | Relay | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 3 | Start motor command | DO06-13 | P&ID-040 | 301-002 | N/A | N/A
301-PM002-XSP | DO | Solid State | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 3 | Stop motor command | DO06-14 | P&ID-040 | 301-002 | N/A | N/A
301-PM002-XRC | DO | 24 VDC | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 3 | Enable remote control | DO06-15 | P&ID-040 | 301-002 | N/A | N/A
301-PM002-XRN | DI | Dry Contact | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 3 | Motor running feedback | DI06-16 | P&ID-040 | 301-002 | N/A | N/A
301-PM002-XHTA | DI | Dry Contact | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 3 | High temperature detected | DI07-01 | P&ID-040 | 301-002 | N/A | N/A
301-PM002-XOLA | DI | 24 VDC | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 3 | Overload protection triggered | DI07-02 | P&ID-040 | 301-002 | N/A | N/A
301-FT002-FI | AI | RTD | Celcius | Pump station with flow and pressure monitoring | Flow Transmitter | Flow rate measurement | AI07-03 | P&ID-044 | 301-002 | 0 | 450
301-PT002-PI | AI | RTD | Celcius | Pump station with flow and pressure monitoring | Pressure Transmitter | Pressure reading | AI07-04 | P&ID-028 | 301-002 | 0 | 19
301-VC002-XOC | DO | Relay | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Open valve command | DO07-05 | P&ID-045 | 301-002 | N/A | N/A
301-VC002-XCC | DO | Solid State | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Close valve command | DO07-06 | P&ID-045 | 301-002 | N/A | N/A
301-VC002-XOF | DI | 24 VDC | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Valve open status feedback | DI07-07 | P&ID-045 | 301-002 | N/A | N/A
301-VC002-XCF | DI | 24 VDC | N/A | Pump station with flow and pressure monitoring | Valve Actuator | Valve closed status feedback | DI07-08 | P&ID-045 | 301-002 | N/A | N/A
301-CB001-XFWD | DO | Relay | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward start command | DO07-09 | P&ID-024 | 301-003 | N/A | N/A
301-CB001-XREV | DO | Relay | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse start command | DO07-10 | P&ID-024 | 301-003 | N/A | N/A
301-CB001-XSTP | DO | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Stop command | DO07-11 | P&ID-024 | 301-003 | N/A | N/A
301-CB001-XFWF | DI | Dry Contact | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward running feedback | DI07-12 | P&ID-024 | 301-003 | N/A | N/A
301-CB001-XRVF | DI | Pulse | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse running feedback | DI07-13 | P&ID-024 | 301-003 | N/A | N/A
301-CB001-XFTA | DI | Pulse | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Fault alarm | DI07-14 | P&ID-024 | 301-003 | N/A | N/A
301-CB002-XFWD | DO | 24 VDC | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Forward start command | DO07-15 | P&ID-047 | 301-003 | N/A | N/A
301-CB002-XREV | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Reverse start command | DO07-16 | P&ID-047 | 301-003 | N/A | N/A
301-CB002-XSTP | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Stop command | DO08-01 | P&ID-047 | 301-003 | N/A | N/A
301-CB002-XFWF | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Forward running feedback | DI08-02 | P&ID-047 | 301-003 | N/A | N/A
301-CB002-XRVF | DI | Dry Contact | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Reverse running feedback | DI08-03 | P&ID-047 | 301-003 | N/A | N/A
301-CB002-XRDY | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Ready status | DI08-04 | P&ID-047 | 301-003 | N/A | N/A
301-CB002-XFTA | DI | Pulse | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Fault alarm | DI08-05 | P&ID-047 | 301-003 | N/A | N/A
301-CB002-SC | AO | Solid State | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Speed control signal (%) | AO08-06 | P&ID-047 | 301-003 | 0 | 100
301-CB002-SI | AI | 4-20 mA | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Speed feedback signal (%) | AI08-07 | P&ID-047 | 301-003 | 0 | 100
301-CB002-XOLA | DI | Dry Contact | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Overload detected | DI08-08 | P&ID-047 | 301-003 | N/A | N/A
301-PT003-PI | AI | RTD | Celcius | Product packaging line with conveyor and sensors | Pressure Transmitter | Pressure reading | AI08-09 | P&ID-045 | 301-003 | 0 | 23
301-FT003-FI | AI | RTD | Celcius | Product packaging line with conveyor and sensors | Flow Transmitter | Flow rate measurement | AI08-10 | P&ID-011 | 301-003 | 0 | 400
301-FN001-XST | DO | Solid State | N/A | Ventilation system with temperature control | Fan Starter | Fan start command | DO08-11 | P&ID-002 | 301-004 | N/A | N/A
301-FN001-XSP | DO | Solid State | N/A | Ventilation system with temperature control | Fan Starter | Fan stop command | DO08-12 | P&ID-002 | 301-004 | N/A | N/A
301-FN001-XRN | DI | Pulse | N/A | Ventilation system with temperature control | Fan Starter | Fan running feedback | DI08-13 | P&ID-002 | 301-004 | N/A | N/A
301-TT001-TI | AI | 0-10 V | Celcius | Ventilation system with temperature control | Temperature Transmitter | Temperature reading | AI08-14 | P&ID-039 | 301-004 | -18 | 115
301-FN002-XST | DO | 24 VDC | N/A | Ventilation system with temperature control | Fan Starter | Fan start command | DO08-15 | P&ID-036 | 301-005 | N/A | N/A
301-FN002-XSP | DO | 24 VDC | N/A | Ventilation system with temperature control | Fan Starter | Fan stop command | DO08-16 | P&ID-036 | 301-005 | N/A | N/A
301-FN002-XRN | DI | Dry Contact | N/A | Ventilation system with temperature control | Fan Starter | Fan running feedback | DI09-01 | P&ID-036 | 301-005 | N/A | N/A
301-TT002-TI | AI | Thermocouple | Celcius | Ventilation system with temperature control | Temperature Transmitter | Temperature reading | AI09-02 | P&ID-007 | 301-005 | 28 | 90
301-LT001-LI | AI | 0-10 V | N/A | Storage tank with level monitoring | Level Transmitter | Tank level measurement | AI09-03 | P&ID-014 | 301-006 | 0 | 100
301-TT003-TI | AI | Thermocouple | Celcius | Storage tank with level monitoring | Temperature Transmitter | Temperature reading | AI09-04 | P&ID-017 | 301-006 | -10 | 123
301-CA001-XST | DO | Relay | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Compressor start command | DO09-05 | P&ID-016 | 301-007 | N/A | N/A
301-CA001-XSP | DO | Relay | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Compressor stop command | DO09-06 | P&ID-016 | 301-007 | N/A | N/A
301-CA001-XRN | DI | Dry Contact | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Compressor running feedback | DI09-07 | P&ID-016 | 301-007 | N/A | N/A
301-CA001-XPFA | DI | Dry Contact | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Power failure detected | DI09-08 | P&ID-016 | 301-007 | N/A | N/A
301-PT004-PI | AI | 0-10 V | bar | Compressor with pressure and temperature monitoring | Pressure Transmitter | Pressure reading | AI09-09 | P&ID-036 | 301-007 | 0 | 22
301-PT005-PI | AI | 0-10 V | bar | Compressor with pressure and temperature monitoring | Pressure Transmitter | Pressure reading | AI09-10 | P&ID-049 | 301-007 | 0 | 18
301-TT004-TI | AI | 4-20 mA | Celcius | Compressor with pressure and temperature monitoring | Temperature Transmitter | Temperature reading | AI09-11 | P&ID-031 | 301-007 | 17 | 140
301-MX001-XST | DO | Solid State | N/A | Product mixing system with temperature control | Mixer Advanced | Start mixer command | DO09-12 | P&ID-040 | 301-008 | N/A | N/A
301-MX001-XSP | DO | Solid State | N/A | Product mixing system with temperature control | Mixer Advanced | Stop mixer command | DO09-13 | P&ID-040 | 301-008 | N/A | N/A
301-MX001-XRN | DI | Dry Contact | N/A | Product mixing system with temperature control | Mixer Advanced | Feedback: mixer is running | DI09-14 | P&ID-040 | 301-008 | N/A | N/A
301-MX001-XOLA | DI | Dry Contact | N/A | Product mixing system with temperature control | Mixer Advanced | Alarm: overload condition | DI09-15 | P&ID-040 | 301-008 | N/A | N/A
301-MX001-SC | AO | 24 VDC | N/A | Product mixing system with temperature control | Mixer Advanced | Speed control signal | AO09-16 | P&ID-040 | 301-008 | 0 | 100
301-MX001-TI | AI | 0-10 V | Celcius | Product mixing system with temperature control | Mixer Advanced | Temperature feedback | AI10-01 | P&ID-040 | 301-008 | 19 | 92
301-TT005-TI | AI | RTD | Celcius | Product mixing system with temperature control | Temperature Transmitter | Temperature reading | AI10-02 | P&ID-011 | 301-008 | -17 | 120
301-LT002-LI | AI | 0-10 V | N/A | Product mixing system with temperature control | Level Transmitter | Tank level measurement | AI10-03 | P&ID-049 | 301-008 | 0 | 100
301-VC003-XOC | DO | Relay | N/A | Product mixing system with temperature control | Valve Actuator | Open valve command | DO10-04 | P&ID-038 | 301-008 | N/A | N/A
301-VC003-XCC | DO | Solid State | N/A | Product mixing system with temperature control | Valve Actuator | Close valve command | DO10-05 | P&ID-038 | 301-008 | N/A | N/A
301-VC003-XOF | DI | 24 VDC | N/A | Product mixing system with temperature control | Valve Actuator | Valve open status feedback | DI10-06 | P&ID-038 | 301-008 | N/A | N/A
301-VC003-XCF | DI | Pulse | N/A | Product mixing system with temperature control | Valve Actuator | Valve closed status feedback | DI10-07 | P&ID-038 | 301-008 | N/A | N/A
301-VC004-XOC | DO | 24 VDC | N/A | Product mixing system with temperature control | Valve Actuator | Open valve command | DO10-08 | P&ID-048 | 301-008 | N/A | N/A
301-VC004-XCC | DO | Solid State | N/A | Product mixing system with temperature control | Valve Actuator | Close valve command | DO10-09 | P&ID-048 | 301-008 | N/A | N/A
301-VC004-XOF | DI | 24 VDC | N/A | Product mixing system with temperature control | Valve Actuator | Valve open status feedback | DI10-10 | P&ID-048 | 301-008 | N/A | N/A
301-VC004-XCF | DI | Dry Contact | N/A | Product mixing system with temperature control | Valve Actuator | Valve closed status feedback | DI10-11 | P&ID-048 | 301-008 | N/A | N/A
301-FN003-XST | DO | Solid State | N/A | Ventilation system with temperature control | Fan Starter | Fan start command | DO10-12 | P&ID-047 | 301-009 | N/A | N/A
301-FN003-XSP | DO | Solid State | N/A | Ventilation system with temperature control | Fan Starter | Fan stop command | DO10-13 | P&ID-047 | 301-009 | N/A | N/A
301-FN003-XRN | DI | Pulse | N/A | Ventilation system with temperature control | Fan Starter | Fan running feedback | DI10-14 | P&ID-047 | 301-009 | N/A | N/A
301-TT006-TI | AI | 4-20 mA | Celcius | Ventilation system with temperature control | Temperature Transmitter | Temperature reading | AI10-15 | P&ID-029 | 301-009 | -2 | 150
302-VFD001-XST | DO | Solid State | N/A | Variable speed pump system | Variable Frequency Drive Basic | Start VFD command | DO10-16 | P&ID-004 | 302-001 | N/A | N/A
302-VFD001-XSP | DO | Relay | N/A | Variable speed pump system | Variable Frequency Drive Basic | Stop VFD command | DO11-01 | P&ID-004 | 302-001 | N/A | N/A
302-VFD001-XRS | DO | 24 VDC | N/A | Variable speed pump system | Variable Frequency Drive Basic | Reset VFD fault | DO11-02 | P&ID-004 | 302-001 | N/A | N/A
302-VFD001-XRN | DI | Pulse | N/A | Variable speed pump system | Variable Frequency Drive Basic | VFD running feedback | DI11-03 | P&ID-004 | 302-001 | N/A | N/A
302-VFD001-XFT | DI | 24 VDC | N/A | Variable speed pump system | Variable Frequency Drive Basic | Fault status signal | DI11-04 | P&ID-004 | 302-001 | N/A | N/A
302-VFD001-SC | AO | Relay | N/A | Variable speed pump system | Variable Frequency Drive Basic | Speed control signal | AO11-05 | P&ID-004 | 302-001 | 0 | 100
302-VFD001-SI | AI | Thermocouple | Celcius | Variable speed pump system | Variable Frequency Drive Basic | Speed feedback signal | AI11-06 | P&ID-004 | 302-001 | 0 | 100
302-FT001-FI | AI | 0-10 V | m3/h | Variable speed pump system | Flow Transmitter | Flow rate measurement | AI11-07 | P&ID-033 | 302-001 | 0 | 133
302-PT001-PI | AI | Thermocouple | Celcius | Variable speed pump system | Pressure Transmitter | Pressure reading | AI11-08 | P&ID-005 | 302-001 | 0 | 7
302-HTR001-XST | DO | Solid State | N/A | Product heating system | Heater Element Basic | Heater start command | DO11-09 | P&ID-031 | 302-002 | N/A | N/A
302-HTR001-XRN | DI | Pulse | N/A | Product heating system | Heater Element Basic | Heater running feedback | DI11-10 | P&ID-031 | 302-002 | N/A | N/A
302-TT001-TI | AI | 0-10 V | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI11-11 | P&ID-016 | 302-002 | -18 | 136
302-TT002-TI | AI | 0-10 V | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI11-12 | P&ID-015 | 302-002 | -6 | 98
302-CA001-XST | DO | Solid State | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Compressor start command | DO11-13 | P&ID-041 | 302-003 | N/A | N/A
302-CA001-XSP | DO | Relay | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Compressor stop command | DO11-14 | P&ID-041 | 302-003 | N/A | N/A
302-CA001-XRN | DI | 24 VDC | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Compressor running feedback | DI11-15 | P&ID-041 | 302-003 | N/A | N/A
302-CA001-XPFA | DI | Dry Contact | N/A | Compressor with pressure and temperature monitoring | Compressor Actuator | Power failure detected | DI11-16 | P&ID-041 | 302-003 | N/A | N/A
302-PT002-PI | AI | 4-20 mA | bar | Compressor with pressure and temperature monitoring | Pressure Transmitter | Pressure reading | AI12-01 | P&ID-031 | 302-003 | 0 | 10
302-PT003-PI | AI | 4-20 mA | bar | Compressor with pressure and temperature monitoring | Pressure Transmitter | Pressure reading | AI12-02 | P&ID-040 | 302-003 | 0 | 10
302-TT003-TI | AI | 0-10 V | Celcius | Compressor with pressure and temperature monitoring | Temperature Transmitter | Temperature reading | AI12-03 | P&ID-037 | 302-003 | 28 | 115
302-PM001-XST | DO | Relay | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Pump start command | DO12-04 | P&ID-035 | 302-004 | N/A | N/A
302-PM001-XSP | DO | Relay | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Pump stop command | DO12-05 | P&ID-035 | 302-004 | N/A | N/A
302-PM001-XRC | DO | Relay | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Remote control enable signal | DO12-06 | P&ID-035 | 302-004 | N/A | N/A
302-PM001-XRN | DI | Dry Contact | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Pump running feedback | DI12-07 | P&ID-035 | 302-004 | N/A | N/A
302-PM001-XPFA | DI | Pulse | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Power failure detected | DI12-08 | P&ID-035 | 302-004 | N/A | N/A
302-PM001-XOLA | DI | Pulse | N/A | Pump station with flow and pressure monitoring | Pump Motor Starter Variant 1 | Motor overload alarm | DI12-09 | P&ID-035 | 302-004 | N/A | N/A
302-FT002-FI | AI | RTD | Celcius | Pump station with flow and pressure monitoring | Flow Transmitter | Flow rate measurement | AI12-10 | P&ID-024 | 302-004 | 0 | 336
302-PT004-PI | AI | Thermocouple | Celcius | Pump station with flow and pressure monitoring | Pressure Transmitter | Pressure reading | AI12-11 | P&ID-010 | 302-004 | 0 | 23
302-HTR002-XST | DO | Relay | N/A | Product heating system | Heater Element Advanced | Start heater command | DO12-12 | P&ID-022 | 302-005 | N/A | N/A
302-HTR002-XSP | DO | Solid State | N/A | Product heating system | Heater Element Advanced | Stop heater command | DO12-13 | P&ID-022 | 302-005 | N/A | N/A
302-HTR002-XRN | DI | Dry Contact | N/A | Product heating system | Heater Element Advanced | Running status feedback | DI12-14 | P&ID-022 | 302-005 | N/A | N/A
302-HTR002-TC | AO | 24 VDC | Celcius | Product heating system | Heater Element Advanced | Temperature control signal | AO12-15 | P&ID-022 | 302-005 | 23 | 141
302-HTR002-TI | AI | Thermocouple | Celcius | Product heating system | Heater Element Advanced | Temperature feedback signal | AI12-16 | P&ID-022 | 302-005 | 30 | 80
302-TT004-TI | AI | 4-20 mA | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI13-01 | P&ID-026 | 302-005 | -11 | 105
302-TT005-TI | AI | 4-20 mA | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI13-02 | P&ID-021 | 302-005 | -14 | 115
302-FT003-FI | AI | 0-10 V | m3/h | Product heating system | Flow Transmitter | Flow rate measurement | AI13-03 | P&ID-015 | 302-005 | 0 | 336
302-VFD002-XST | DO | 24 VDC | N/A | Variable speed pump system | Variable Frequency Drive Basic | Start VFD command | DO13-04 | P&ID-017 | 302-006 | N/A | N/A
302-VFD002-XSP | DO | 24 VDC | N/A | Variable speed pump system | Variable Frequency Drive Basic | Stop VFD command | DO13-05 | P&ID-017 | 302-006 | N/A | N/A
302-VFD002-XRS | DO | Relay | N/A | Variable speed pump system | Variable Frequency Drive Basic | Reset VFD fault | DO13-06 | P&ID-017 | 302-006 | N/A | N/A
302-VFD002-XRN | DI | Dry Contact | N/A | Variable speed pump system | Variable Frequency Drive Basic | VFD running feedback | DI13-07 | P&ID-017 | 302-006 | N/A | N/A
302-VFD002-XFT | DI | Dry Contact | N/A | Variable speed pump system | Variable Frequency Drive Basic | Fault status signal | DI13-08 | P&ID-017 | 302-006 | N/A | N/A
302-VFD002-SC | AO | 24 VDC | N/A | Variable speed pump system | Variable Frequency Drive Basic | Speed control signal | AO13-09 | P&ID-017 | 302-006 | 0 | 100
302-VFD002-SI | AI | Thermocouple | Celcius | Variable speed pump system | Variable Frequency Drive Basic | Speed feedback signal | AI13-10 | P&ID-017 | 302-006 | 0 | 100
302-FT004-FI | AI | Thermocouple | Celcius | Variable speed pump system | Flow Transmitter | Flow rate measurement | AI13-11 | P&ID-043 | 302-006 | 0 | 453
302-PT005-PI | AI | 0-10 V | bar | Variable speed pump system | Pressure Transmitter | Pressure reading | AI13-12 | P&ID-024 | 302-006 | 0 | 12
302-CB001-XFWD | DO | 24 VDC | N/A | Material handling system with conveyor belt | Basic Conveyor Belt | Forward start command | DO13-13 | P&ID-049 | 302-007 | N/A | N/A
302-CB001-XREV | DO | Solid State | N/A | Material handling system with conveyor belt | Basic Conveyor Belt | Reverse start command | DO13-14 | P&ID-049 | 302-007 | N/A | N/A
302-CB001-XSTP | DO | Relay | N/A | Material handling system with conveyor belt | Basic Conveyor Belt | Stop command | DO13-15 | P&ID-049 | 302-007 | N/A | N/A
302-CB001-XFWF | DI | Pulse | N/A | Material handling system with conveyor belt | Basic Conveyor Belt | Forward running feedback | DI13-16 | P&ID-049 | 302-007 | N/A | N/A
302-CB001-XRVF | DI | 24 VDC | N/A | Material handling system with conveyor belt | Basic Conveyor Belt | Reverse running feedback | DI14-01 | P&ID-049 | 302-007 | N/A | N/A
302-CB001-XFTA | DI | Pulse | N/A | Material handling system with conveyor belt | Basic Conveyor Belt | Fault alarm | DI14-02 | P&ID-049 | 302-007 | N/A | N/A
302-FT005-FI | AI | 4-20 mA | m3/h | Material handling system with conveyor belt | Flow Transmitter | Flow rate measurement | AI14-03 | P&ID-044 | 302-007 | 0 | 446
302-LT001-LI | AI | 0-10 V | N/A | Material handling system with conveyor belt | Level Transmitter | Tank level measurement | AI14-04 | P&ID-013 | 302-007 | 0 | 100
302-LT002-LI | AI | Thermocouple | Celcius | Material handling system with conveyor belt | Level Transmitter | Tank level measurement | AI14-05 | P&ID-005 | 302-007 | 0 | 100
302-CB002-XFWD | DO | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward start command | DO14-06 | P&ID-044 | 302-008 | N/A | N/A
302-CB002-XREV | DO | Relay | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse start command | DO14-07 | P&ID-044 | 302-008 | N/A | N/A
302-CB002-XSTP | DO | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Stop command | DO14-08 | P&ID-044 | 302-008 | N/A | N/A
302-CB002-XFWF | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Forward running feedback | DI14-09 | P&ID-044 | 302-008 | N/A | N/A
302-CB002-XRVF | DI | Pulse | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Reverse running feedback | DI14-10 | P&ID-044 | 302-008 | N/A | N/A
302-CB002-XFTA | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Basic Conveyor Belt | Fault alarm | DI14-11 | P&ID-044 | 302-008 | N/A | N/A
302-CB003-XFWD | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Forward start command | DO14-12 | P&ID-047 | 302-008 | N/A | N/A
302-CB003-XREV | DO | Solid State | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Reverse start command | DO14-13 | P&ID-047 | 302-008 | N/A | N/A
302-CB003-XSTP | DO | Relay | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Stop command | DO14-14 | P&ID-047 | 302-008 | N/A | N/A
302-CB003-XFWF | DI | Pulse | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Forward running feedback | DI14-15 | P&ID-047 | 302-008 | N/A | N/A
302-CB003-XRVF | DI | Dry Contact | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Reverse running feedback | DI14-16 | P&ID-047 | 302-008 | N/A | N/A
302-CB003-XRDY | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Ready status | DI15-01 | P&ID-047 | 302-008 | N/A | N/A
302-CB003-XFTA | DI | Dry Contact | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Fault alarm | DI15-02 | P&ID-047 | 302-008 | N/A | N/A
302-CB003-SC | AO | 24 VDC | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Speed control signal (%) | AO15-03 | P&ID-047 | 302-008 | 0 | 100
302-CB003-SI | AI | RTD | Celcius | Product packaging line with conveyor and sensors | Conveyor Belt | Speed feedback signal (%) | AI15-04 | P&ID-047 | 302-008 | 0 | 100
302-CB003-XOLA | DI | 24 VDC | N/A | Product packaging line with conveyor and sensors | Conveyor Belt | Overload detected | DI15-05 | P&ID-047 | 302-008 | N/A | N/A
302-FT006-FI | AI | Thermocouple | Celcius | Product packaging line with conveyor and sensors | Flow Transmitter | Flow rate measurement | AI15-06 | P&ID-001 | 302-008 | 0 | 364
302-HTR003-XST | DO | 24 VDC | N/A | Product heating system | Heater Element Advanced | Start heater command | DO15-07 | P&ID-038 | 302-009 | N/A | N/A
302-HTR003-XSP | DO | Relay | N/A | Product heating system | Heater Element Advanced | Stop heater command | DO15-08 | P&ID-038 | 302-009 | N/A | N/A
302-HTR003-XRN | DI | Dry Contact | N/A | Product heating system | Heater Element Advanced | Running status feedback | DI15-09 | P&ID-038 | 302-009 | N/A | N/A
302-HTR003-TC | AO | Relay | Celcius | Product heating system | Heater Element Advanced | Temperature control signal | AO15-10 | P&ID-038 | 302-009 | -18 | 87
302-HTR003-TI | AI | Thermocouple | Celcius | Product heating system | Heater Element Advanced | Temperature feedback signal | AI15-11 | P&ID-038 | 302-009 | 19 | 116
302-TT006-TI | AI | 0-10 V | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI15-12 | P&ID-045 | 302-009 | -14 | 100
302-TT007-TI | AI | 4-20 mA | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI15-13 | P&ID-040 | 302-009 | 10 | 116
302-FT007-FI | AI | 0-10 V | m3/h | Product heating system | Flow Transmitter | Flow rate measurement | AI15-14 | P&ID-044 | 302-009 | 0 | 247
302-MX001-XST | DO | 24 VDC | N/A | Product mixing system with temperature control | Mixer Simple | Mixer start command | DO15-15 | P&ID-023 | 302-010 | N/A | N/A
302-MX001-XRN | DI | Pulse | N/A | Product mixing system with temperature control | Mixer Simple | Mixer running feedback | DI15-16 | P&ID-023 | 302-010 | N/A | N/A
302-MX001-XOLA | DI | 24 VDC | N/A | Product mixing system with temperature control | Mixer Simple | Overload alarm triggered | DI16-01 | P&ID-023 | 302-010 | N/A | N/A
302-TT008-TI | AI | Thermocouple | Celcius | Product mixing system with temperature control | Temperature Transmitter | Temperature reading | AI16-02 | P&ID-013 | 302-010 | 29 | 131
302-LT003-LI | AI | 4-20 mA | N/A | Product mixing system with temperature control | Level Transmitter | Tank level measurement | AI16-03 | P&ID-004 | 302-010 | 0 | 100
302-VC001-XOC | DO | Solid State | N/A | Product mixing system with temperature control | Valve Actuator | Open valve command | DO16-04 | P&ID-031 | 302-010 | N/A | N/A
302-VC001-XCC | DO | 24 VDC | N/A | Product mixing system with temperature control | Valve Actuator | Close valve command | DO16-05 | P&ID-031 | 302-010 | N/A | N/A
302-VC001-XOF | DI | Pulse | N/A | Product mixing system with temperature control | Valve Actuator | Valve open status feedback | DI16-06 | P&ID-031 | 302-010 | N/A | N/A
302-VC001-XCF | DI | Dry Contact | N/A | Product mixing system with temperature control | Valve Actuator | Valve closed status feedback | DI16-07 | P&ID-031 | 302-010 | N/A | N/A
302-VC002-XOC | DO | Relay | N/A | Product mixing system with temperature control | Valve Actuator | Open valve command | DO16-08 | P&ID-022 | 302-010 | N/A | N/A
302-VC002-XCC | DO | 24 VDC | N/A | Product mixing system with temperature control | Valve Actuator | Close valve command | DO16-09 | P&ID-022 | 302-010 | N/A | N/A
302-VC002-XOF | DI | Pulse | N/A | Product mixing system with temperature control | Valve Actuator | Valve open status feedback | DI16-10 | P&ID-022 | 302-010 | N/A | N/A
302-VC002-XCF | DI | Dry Contact | N/A | Product mixing system with temperature control | Valve Actuator | Valve closed status feedback | DI16-11 | P&ID-022 | 302-010 | N/A | N/A
302-LT004-LI | AI | Thermocouple | Celcius | Storage tank with level monitoring | Level Transmitter | Tank level measurement | AI16-12 | P&ID-046 | 302-011 | 0 | 100
302-VC003-XOC | DO | Relay | N/A | Storage tank with level monitoring | Valve Actuator | Open valve command | DO16-13 | P&ID-044 | 302-011 | N/A | N/A
302-VC003-XCC | DO | Relay | N/A | Storage tank with level monitoring | Valve Actuator | Close valve command | DO16-14 | P&ID-044 | 302-011 | N/A | N/A
302-VC003-XOF | DI | Dry Contact | N/A | Storage tank with level monitoring | Valve Actuator | Valve open status feedback | DI16-15 | P&ID-044 | 302-011 | N/A | N/A
302-VC003-XCF | DI | Dry Contact | N/A | Storage tank with level monitoring | Valve Actuator | Valve closed status feedback | DI16-16 | P&ID-044 | 302-011 | N/A | N/A
302-VC004-XOC | DO | 24 VDC | N/A | Storage tank with level monitoring | Valve Actuator | Open valve command | DO17-01 | P&ID-040 | 302-011 | N/A | N/A
302-VC004-XCC | DO | 24 VDC | N/A | Storage tank with level monitoring | Valve Actuator | Close valve command | DO17-02 | P&ID-040 | 302-011 | N/A | N/A
302-VC004-XOF | DI | Dry Contact | N/A | Storage tank with level monitoring | Valve Actuator | Valve open status feedback | DI17-03 | P&ID-040 | 302-011 | N/A | N/A
302-VC004-XCF | DI | Dry Contact | N/A | Storage tank with level monitoring | Valve Actuator | Valve closed status feedback | DI17-04 | P&ID-040 | 302-011 | N/A | N/A
302-HTR004-XST | DO | Relay | N/A | Product heating system | Heater Element Advanced | Start heater command | DO17-05 | P&ID-038 | 302-012 | N/A | N/A
302-HTR004-XSP | DO | Solid State | N/A | Product heating system | Heater Element Advanced | Stop heater command | DO17-06 | P&ID-038 | 302-012 | N/A | N/A
302-HTR004-XRN | DI | Pulse | N/A | Product heating system | Heater Element Advanced | Running status feedback | DI17-07 | P&ID-038 | 302-012 | N/A | N/A
302-HTR004-TC | AO | Relay | Celcius | Product heating system | Heater Element Advanced | Temperature control signal | AO17-08 | P&ID-038 | 302-012 | -9 | 91
302-HTR004-TI | AI | 0-10 V | Celcius | Product heating system | Heater Element Advanced | Temperature feedback signal | AI17-09 | P&ID-038 | 302-012 | 6 | 89
302-TT009-TI | AI | Thermocouple | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI17-10 | P&ID-027 | 302-012 | -17 | 120
302-TT010-TI | AI | RTD | Celcius | Product heating system | Temperature Transmitter | Temperature reading | AI17-11 | P&ID-026 | 302-012 | -9 | 87
302-FT008-FI | AI | 4-20 mA | m3/h | Product heating system | Flow Transmitter | Flow rate measurement | AI17-12 | P&ID-020 | 302-012 | 0 | 447
302-MX002-XST | DO | Relay | N/A | Product mixing system with temperature control | Mixer Advanced | Start mixer command | DO17-13 | P&ID-043 | 302-013 | N/A | N/A
302-MX002-XSP | DO | Solid State | N/A | Product mixing system with temperature control | Mixer Advanced | Stop mixer command | DO17-14 | P&ID-043 | 302-013 | N/A | N/A
302-MX002-XRN | DI | Dry Contact | N/A | Product mixing system with temperature control | Mixer Advanced | Feedback: mixer is running | DI17-15 | P&ID-043 | 302-013 | N/A | N/A
302-MX002-XOLA | DI | Dry Contact | N/A | Product mixing system with temperature control | Mixer Advanced | Alarm: overload condition | DI17-16 | P&ID-043 | 302-013 | N/A | N/A
302-MX002-SC | AO | 24 VDC | N/A | Product mixing system with temperature control | Mixer Advanced | Speed control signal | AO18-01 | P&ID-043 | 302-013 | 0 | 100
302-MX002-TI | AI | 4-20 mA | Celcius | Product mixing system with temperature control | Mixer Advanced | Temperature feedback | AI18-02 | P&ID-043 | 302-013 | 23 | 100
302-TT011-TI | AI | 4-20 mA | Celcius | Product mixing system with temperature control | Temperature Transmitter | Temperature reading | AI18-03 | P&ID-022 | 302-013 | 18 | 146
302-LT005-LI | AI | Thermocouple | Celcius | Product mixing system with temperature control | Level Transmitter | Tank level measurement | AI18-04 | P&ID-046 | 302-013 | 0 | 100
302-VC005-XOC | DO | Relay | N/A | Product mixing system with temperature control | Valve Actuator | Open valve command | DO18-05 | P&ID-018 | 302-013 | N/A | N/A
302-VC005-XCC | DO | Solid State | N/A | Product mixing system with temperature control | Valve Actuator | Close valve command | DO18-06 | P&ID-018 | 302-013 | N/A | N/A
302-VC005-XOF | DI | 24 VDC | N/A | Product mixing system with temperature control | Valve Actuator | Valve open status feedback | DI18-07 | P&ID-018 | 302-013 | N/A | N/A
302-VC005-XCF | DI | Dry Contact | N/A | Product mixing system with temperature control | Valve Actuator | Valve closed status feedback | DI18-08 | P&ID-018 | 302-013 | N/A | N/A
302-VC006-XOC | DO | Solid State | N/A | Product mixing system with temperature control | Valve Actuator | Open valve command | DO18-09 | P&ID-026 | 302-013 | N/A | N/A
302-VC006-XCC | DO | Relay | N/A | Product mixing system with temperature control | Valve Actuator | Close valve command | DO18-10 | P&ID-026 | 302-013 | N/A | N/A
302-VC006-XOF | DI | 24 VDC | N/A | Product mixing system with temperature control | Valve Actuator | Valve open status feedback | DI18-11 | P&ID-026 | 302-013 | N/A | N/A
302-VC006-XCF | DI | Dry Contact | N/A | Product mixing system with temperature control | Valve Actuator | Valve closed status feedback | DI18-12 | P&ID-026 | 302-013 | N/A | N/A
401-CB001-XFWD | DO | Solid State | N/A | Material handling system with conveyor belt | Conveyor Belt | Forward start command | DO18-13 | P&ID-018 | 401-001 | N/A | N/A
401-CB001-XREV | DO | Solid State | N/A | Material handling system with conveyor belt | Conveyor Belt | Reverse start command | DO18-14 | P&ID-018 | 401-001 | N/A | N/A
401-CB001-XSTP | DO | 24 VDC | N/A | Material handling system with conveyor belt | Conveyor Belt | Stop command | DO18-15 | P&ID-018 | 401-001 | N/A | N/A
401-CB001-XFWF | DI | Pulse | N/A | Material handling system with conveyor belt | Conveyor Belt | Forward running feedback | DI18-16 | P&ID-018 | 401-001 | N/A | N/A
401-CB001-XRVF | DI | Pulse | N/A | Material handling system with conveyor belt | Conveyor Belt | Reverse running feedback | DI19-01 | P&ID-018 | 401-001 | N/A | N/A
401-CB001-XRDY | DI | Dry Contact | N/A | Material handling system with conveyor belt | Conveyor Belt | Ready status | DI19-02 | P&ID-018 | 401-001 | N/A | N/A
401-CB001-XFTA | DI | Dry Contact | N/A | Material handling system with conveyor belt | Conveyor Belt | Fault alarm | DI19-03 | P&ID-018 | 401-001 | N/A | N/A
401-CB001-SC | AO | 24 VDC | N/A | Material handling system with conveyor belt | Conveyor Belt | Speed control signal (%) | AO19-04 | P&ID-018 | 401-001 | 0 | 100
401-CB001-SI | AI | 0-10 V | N/A | Material handling system with conveyor belt | Conveyor Belt | Speed feedback signal (%) | AI19-05 | P&ID-018 | 401-001 | 0 | 100
401-CB001-XOLA | DI | 24 VDC | N/A | Material handling system with conveyor belt | Conveyor Belt | Overload detected | DI19-06 | P&ID-018 | 401-001 | N/A | N/A
401-FT001-FI | AI | Thermocouple | Celcius | Material handling system with conveyor belt | Flow Transmitter | Flow rate measurement | AI19-07 | P&ID-026 | 401-001 | 0 | 360
401-LT001-LI | AI | 4-20 mA | N/A | Material handling system with conveyor belt | Level Transmitter | Tank level measurement | AI19-08 | P&ID-024 | 401-001 | 0 | 100
401-LT002-LI | AI | Thermocouple | Celcius | Material handling system with conveyor belt | Level Transmitter | Tank level measurement | AI19-09 | P&ID-020 | 401-001 | 0 | 100
401-LT003-LI | AI | Thermocouple | Celcius | Standalone device | Level Transmitter | Tank level measurement | AI19-10 | P&ID-008 | 401-002 | 0 | 100
401-LT004-LI | AI | RTD | Celcius | Standalone device | Level Transmitter | Tank level measurement | AI19-11 | P&ID-038 | 401-003 | 0 | 100
401-FN001-XST | DO | 24 VDC | N/A | Standalone device | Fan Starter | Fan start command | DO19-12 | P&ID-025 | 401-004 | N/A | N/A
401-FN001-XSP | DO | Solid State | N/A | Standalone device | Fan Starter | Fan stop command | DO19-13 | P&ID-025 | 401-004 | N/A | N/A